Available online on 15.12.2019 at http://jddtonline.info Journal of Drug Delivery and Therapeutics Open Access to Pharmaceutical and Medical Research © 2011-18, publisher and licensee JDDT, This is an Open Access article which permits unrestricted non-commercial use, provided the original work is properly cited

Open Access                                                                                                  Research Article

Method development and validation for simultaneous estimation of   methotrexate and curcumin in Bulk Drug by using RP-HPLC

* Ankalgi Amar Deep, Chaudhary Nitin Kumar, Kaushal Pooja, Ashawat Mahendra Singh

Laureate Institute of Pharmacy, VPO Kathog, Jawalamukhi, Himachal Pradesh-176031, India

ABSTRACT

Curcumin is the natural herb that shows effect in the treatment of cancer and rheumatoid arthritis and methotrexate is well known anticancer and anti-rheumatoid drug. Literature survey reveals that there was no method available for the selected drug combination. So, here an attempt has been made to develop simple, rapid and economic method for simultaneous estimation of methotrexate and curcumin in bulk drug by using RP-HPLC method. The percentage assay from optimized method was found to be 99.68% and 99.76% for methotrexate and curcumin respectively.  The proposed method was validated for  linearity, accuracy, precision and robustness according to ICH guidelines and were found to be   within the standard range.

Keywords: RP- HPLC, methotrexate, Linearity, anticancer

Article Info: Received 13 Oct 2019;     Review Completed 25 Nov 2019;     Accepted 30 Nov 2019;     Available online 15 Dec 2019

Cite this article as:

Ankalgi AD, Chaudhary NK, Kaushal P, Ashawat MS, Method development and validation for simultaneous estimation of   methotrexate and curcumin in Bulk Drug by using RP-HPLC , Journal of Drug Delivery and Therapeutics. 2019; 9(6-s):127-135    http://dx.doi.org/10.22270/jddt.v9i6-s.3775

*Address for Correspondence:

Ankalgi Amar Deep, Laureate Institute of Pharmacy, VPO Kathog, Jawalamukhi, Himachal Pradesh-176031, India

- INTRODUCTION:

Methotrexate is an antineoplastic agent come under the classification of antimetabolites. Methotrexate is used alone or in combination with other anticancer agents in the treatment of breast cancer, epidermoid cancers of the head and neck, advanced mycosis fungicides and lung cancer, particularly squamous cell and small cell types. [1]

Curcumin is a polyphenol that shows anticancer activity and curcumin that is obtained from the Curcuma longa is a natural herb so they do not show side effects. Turmeric contains the three form of curcuminoids i.e. curcumin, desmethoxycurcumin, and bisdemethoxycurcumin . It is used as an anti-inflammatory, antioxidant, and antinociceptive agents.  In addition, treatment of degenerative eye conditions and metabolic disorders.[2]

Both drugs show effect in the treatment of cancer as well as rheumatoid arthritis. In addition, literature survey reveals that there was no method available for the selected drug combination. It aids to develop simple, rapid and economic method for simultaneous estimation of methotrexate and curcumin in bulk drug by RP-HPLC method.[3to 6]

Methotrexate

Curcumin

- EXPERIMENTAL WORK[7-10]:

2.1 Materials and Method:

2.1.1 Instrument

The lambda max and iso-absorptive point were determined by using double beam UV-spectrophotometer, Lab India. Method development and validation studies were carried out by using Shimadzu prominence LC 20 AD.

2.1.2 Selection of wavelength

The sensitivity of HPLC method that uses UV detection depends upon proper selection of detection wavelength. An ideal wavelength is the one that gives good response for the drugs that are to be detected. For the selection of wavelength 10 µg/ml concentration  of methotrexate and 10 µg/ml of curcumin used and overlain spectrum is taken. Curcumin and  methotrexate was prepared in 50: 50 of 2% acetic acid and methanol from this solution iso-absorptive point was obtained that gives the idea about wavelength selection the final selected wavelength is 274 nm. However , RP-HPLC optimized wavelength was found to be 360nm . (Figure-1)

Figure-1

2.1.3 Selection of chromatographic conditions

Chromatographic separation was achieved at ambient temperature on a reversed phase high performance liquid chromatographic using mobile phase consisting of acetonitrile and 2% acetic acid. The mobile phase was pumped at a rate of 1 ml/min. The detector wavelength was set at 360nm and run time was 15 minutes.

To optimize the chromatographic conditions, the effect of chromatographic variables such as mobile phase and flow rate were studied. The resulting chromatograms were recorded and the chromatographic responses were measured.

2.1.4 Column

For the chromatographic separation of drugs the column of Shimadzu octadecylsilane Hypersil (ODS) C18 having length of 150 ×4.6 mm, with particle size of 5 µ was used.

2.2 Preparation of standard stock solution:

2.2.1 Methotrexate standard stock solution

Standard methotrexate 50 mg was weighed and transferred to a 100 ml volumetric flask and dissolved in HPLC grade methanol: 2% acetic acid in ratio of 50:50. The contents were mixed and volume was made up to the mark with solvent to give a solution containing 500 µg/ml concentrations.

2.2.3 Curcumin standard stock solution

Standard curcumin 50 mg was weighed and transferred to a 100 ml volumetric flask and dissolved in HPLC grade acetonitrile. The contents were mixed and volume was made up to the mark with solvent to give a solution containing 500 µg/ml concentrations.

2.3 Final optimized Trail :

2.3.1 Chromatographic conditions

The mobile phase consisting of 55:45 of ACN: 2% acetic acid was used and absorbance was measured at 360nm.

2.3.2 Preparation of the mobile phase

The mobile phase was prepared by filtration and ultra-sonication of ACN and 2% Acetic acid. 2% Acetic acid is prepared by mixing 2ml of HPLC grade acetic acid in water for HPLC in a 100ml volumetric flask.

Chromatogram of methotrexate and curcumin was shown in figure 1 to4.

Figure-2 Chromatogram of curcumin at wavelength 360nm

Figure :3 Chromatogram of methotrexate at wavelength 360nm

Figure :4 Chromatogram of both drugs at 360nm

2.4 Validation of developed method(11 to17]

2.4.1 Linearity curve for methotrexate

From the standard methotrexate stock solution, the volume of 2, 2.4, 2.8, 3.2, 3.6, 4 mL was pipetted out and transferred to 10 mL volumetric flask. Then volume was made up to the mark having concentration of 100, 120, 140, 160, 180, 200 µg/mL. The sample injection was given at a time interval of 10 minutes with a run time of 15 minutes. The linearity was obtained in selected conc. Ranges. The results are shown in figure 5 and table 1

Table 1: Result of linearity curve of methotrexate at wavelenght 360nm

| Sr.No. | Conc(µg/ml) | Area (µvolt sec) |
| --- | --- | --- |
|  | 100 | 1356739 |
|  | 120 | 1670474 |
|  | 140 | 1941435 |
|  | 160 | 2220076 |
|  | 180 | 2446944 |
|  | 200 | 2720070 |

Figure: 5. Linearity curve of methotrexate at 360 nm

2.4.2 Linearity curve of method for determination of curcumin

From the standard curcumin stock solution, the volume of 1.5, 2, 2.5, 3, 3.5, 4 mL was pipetted out and transferred to 10 mL volumetric flask. Then volume was made up to the mark having concentration of 75, 100, 125, 150, 175, 200 µg/mL. The sample injection was given at a time interval of 10 minutes with a run time of 15 minutes. The linearity was obtained in selected conc. Ranges. The results are shown in figure 6 and table 2.

Table 2: Result of linearity curve of curcumin at wavelenght 360nm

| Sr.No. | Conc(µg/ml) | Area (µvolt sec) |
| --- | --- | --- |
|  | 75 | 2602548 |
|  | 100 | 3499465 |
|  | 125 | 4458077 |
|  | 150 | 5438626 |
|  | 175 | 6580110 |
|  | 200 | 7544843 |

Figure: 6. Linearity curve of curcumin at 360 nm

2.4.3 Accuracy

Accuracy is the closeness of the test results obtained by the method to the true value. Accuracy may often express in terms of percent recovery of assay of known amount of analyte added. Recovery studies were carried out by addition of standard drug to the sample at 3 different levels of spiking i.e. 80%, 100% and 120% of the actual amount taking into consideration percentage purity of added bulk drug samples.[18](Table-3 &4)

2.4.5 Drug recovery

% Drug recovery=Amount foundAmount added×100

Amount found=Mean test abs.Mean standard abs.×standard conc.

Amount added=WeigthVolume

Table: 3 % Drug Recovery of methotrexate at wavelength 360 nm

| Sr. No | Amt. of sample added | Amt. of drug added | Amount recovered (mg/mL) |  |  | Mean | S.D | %RSD | %Drug recovery |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1. | 2. | 3. |  |  |  |  |  |
| 1. | 50 | 30 | 79.3 | 79.6 | 79.8 | 79.57 | 0.252 | 0.316 | 99.462 |  |
| 2. | 50 | 50 | 99.6 | 99.5 | 99.8 | 99.63 | 0.153 | 0.153 | 99.630 |  |
| 3. | 50 | 70 | 119.6 | 119.3 | 119.9 | 119.60 | 0.300 | 0.251 | 99.666 |  |
| Mean of % RSD |  |  |  |  |  |  |  | 0.245 |  |
| Mean of % Drug recovery |  |  |  |  |  |  |  |  | 99.586 |

Table: 4 % Drug Recovery of curcumin at wavelength 360 nm

| Sr. No | Amt. of sample added | Amt. of drug added | Amount recovered (mg/mL) |  |  | Mean | S.D | %RSD | %Drug recovery |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1. | 2. | 3. |  |  |  |  |  |
| 1. | 50 | 30 | 79.5 | 79.9 | 79.8 | 79.73 | 0.208 | 0.261 | 99.662 |  |
| 2. | 50 | 50 | 99.8 | 99.7 | 99.7 | 99.73 | 0.058 | 0.058 | 99.730 |  |
| 3. | 50 | 70 | 119.8 | 119.8 | 119.7 | 119.77 | 0.058 | 0.048 | 99.808 |  |
| Mean of % RSD |  |  |  |  |  |  |  | 0.122 |  |
| Mean of % Drug recovery |  |  |  |  |  |  |  |  | 99.733 |

2.4.6 Precision

The precision of an analytical method is the degree of closeness of agreement between a series of measurements obtained from the multiple sampling of the same sample. Precision include repeatability, inter and intraday precision and reproducibility [19].

2.4.6.1 Interday and intraday precision

Interday and intraday precision of concentration 125, 150, 175µg/ml for curcumin and 140, 160, 180µg/ml for methotrexate was prepared and data was obtained. 3 replicates were prepared for 3 days. The results were shown in table 5 to 7 for methotrexate and curcumin.

Table: 5. Intraday precision of methotrexate and curcumin at 360 nm

| Drug | Methotrexate |  |  | Curcumin |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Concentration | 140µg/ml | 160µg/ml | 160µg/ml | 125µg/ml | 150µg/ml | 175µg/ml |
| Area | 1941402. 1941421. 1941440. | 2220060. 2220102. 2220117. | 2446940. 2446967. 2446987. | 4458001. 4458020. 4458060. | 5438501. 5438540. 5438560. | 6580101. 6580117. 6580137. |
| Mean | 1941421 | 2220093 | 2446964.67 | 4458027 | 5438534 | 6580118 |
| SD | 19.000 | 29.547 | 23.586 | 30.116 | 30.006 | 18.037 |
| %RSD | 0.000979 | 0.001331 | 0.00096 | 0.000676 | 0.000552 | 0.000274 |

Table:6 Interday Precision of Methotrexate

| Day | Day1 |  |  | Day2 |  |  | Day3 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| concentration | 140µg/ml | 160µg/ml | 180µg/ml | 140µg/ml | 160µg/ml | 180µg/ml | 140µg/ml | 160µg/ml | 180µg/ml |
| Area | 2059856 2059864 2059877 | 2154251 2154260 2154276 | 2289566 2289575 2289587 | 1998864 1998823 1998888 | 2058564 2058674 2058685 | 2298663 2298684 2298620 | 2065653 2065660 2065682 | 2165684 2165670 2165653 | 2354653 2354667 2354686 |
| Mean | 2059865.67 | 2154262.33 | 2289576 | 1998858.33 | 2058671 | 2298655.67 | 2065665 | 2165669 | 2354668.67 |
| SD | 10.599 | 12.662 | 10.535 | 32.868 | 15.716 | 32.624 | 15.133 | 15.524 | 16.563 |
| %RSD | 0.000515 | 0.000588 | 0.000460 | 0.001644 | 0.000802 | 0.001555 | 0.000733 | 0.000717 | 0.000703 |

Table:7 Interday Precision of Curcumin

| Day | Day1 |  |  | Day2 |  |  | Day3 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| concentration | 125µg/ml | 150µg/ml | 175µg/ml | 125µg/ml | 150µg/ml | 175µg/ml | 125µg/ml | 150µg/ml | 175µg/ml |
| Area | 4296986 4296999 4296975 | 5286566 5286586 5286595 | 6398666 6398635 6398686 | 4064796 4064170 4064150 | 5068494 5068460 5068476 | 6046464 6046450 6046440 | 4064750 4064750 4064696 | 5068483 5068453 5068594 | 604688 604606 6046564 |
| Mean | 4296986.67 | 5286570.33 | 6398656.33 | 4064172 | 5068476.67 | 6046451.33 | 4064712 | 5068483 | 6046486 |
| SD | 12.014 | 14.012 | 18.502 | 23.065 | 17.010 | 12.055 | 33..045 | 99.861 | 79.018 |
| %RSD | 0.000280 | 0.000265 | 0.000289 | 0.000568 | 0.000336 | 0.000199 | 0.00081 | 0.00197 | 0.00131 |

2.4.7 Repeatability

For repeatability minimum of 6 determinants were prepared of 160µg/ml for MTX and 150µg/ml for curcumin and chromatogram were obtained by injecting one by one. The results were shown in table 8 and 9 for methotrexate and curcumin.

The standard deviation and relative standard deviation was calculated for each type of precision [20].

Repeatability of method for determination of methotrexate (160µg/ml) and curcumin (150µg/mL)

Table: 8. Repeatability of methotrexate at wavelength 360 nm

| Sr. no. | Area |
| --- | --- |
| 1 | 2220076 |
| 2 | 2220072 |
| 3 | 2220086 |
| 4 | 2220076 |
| 5 | 2220066 |
| 6 | 2220062 |
| Mean | 2220073 |
| S.D | 8.4617 |
| %RSD | 0.00038 |

Table: 9. Repeatability of curcumin at wavelength 360 nm

| Sr. no. | Area |
| --- | --- |
| 1 | 5438626 |
| 2 | 5438620 |
| 3 | 5438646 |
| 4 | 5438626 |
| 5 | 5438623 |
| 6 | 5438631 |
| Mean | 5438628.66 |
| S.D | 9.245 |
| %RSD | 0.00017 |

2.4.8 Limit of detection (LOD)

LOD is the lowest amount of analyte in a sample which can be detected but not necessarily quantitated as an exact value. LOD was calculated by the standard deviation of the response and the slope.

LOD=3.3 ×σS

Where,

σ = the standard deviation of response

S = the slope of the calibration curve

The slope and standard deviation were calculated from the linearity curve obtained for concentration range 75 – 200µg/ml for curcumin and 100 – 200µg/ml for methotrexate. The results were shown in table: 10 and 11

Table: 10. LOD of methotrexate

| Sr.no. | Wavelength | 360 nm |
| --- | --- | --- |
| 1. | LOD (µg/mL) | 6.095 |
| 2. | Sum of residual values | 2940198452.1 |
| 3. | *RSD | 24154.531 |

*RSD= residual standard deviation.

Table: 11. LOD of curcumin

| Sr.no. | Wavelength | 360 nm |
| --- | --- | --- |
| 1. | LOD (µg/mL) | 6.110 |
| 2. | Sum of residual values | 137922966101.6 |
| 3. | *RSD | 159822.6 |

*RSD= residual standard deviation.

2.4.9 Limit of Quantification (LOQ)

It is the lowest amount of analyte in a sample which can be quantitatively determined with suitable precision and accuracy. LOQ was calculated by the standard deviation of the response and the slope. The data was obtained from the linearity curve and the LOQ was calculated [21].

LOQ=10×σS

Where,

σ = the standard deviation of the response

S = the slope of the calibration curve

The slope and standard deviations were calculated from the linearity curve obtained for conc. ranges of 1-10 µg/mL for methotrexate and curcumin. The results were shown in the table:12 &13 .

Table: 12. LOQ of methotrexate

| Sr.no. | Wavelength | 360 nm |
| --- | --- | --- |
| 1. | LOQ (µg/mL) | 18.470 |
| 2. | Sum of residual values | 2940198452.1 |
| 3. | *RSD | 24154.531 |

*RSD= residual standard deviation

Table: 13 LOQ of curcumin

| Sr.no. | Wavelength | 360 nm |
| --- | --- | --- |
| 1. | LOQ (µg/mL) | 18.515 |
| 2. | Sum of residual values | 137922966101.6 |
| 3. | *RSD | 159822.6 |

*RSD= residual standard deviation.

2.4.10 Robustness

Robustness is a measure of its capacity to remain unaffected by small, but deliberate variations in method parameter. For HPLC robustness was carried out by changing flow rate  and mobile phase respectively. The results were shown in table: 14for change in flow rate and table: 15 for change in mobile phase [22-25].

Change in flow rate of mobile phase (±2mL/min)

Table: 14. Robustness of methotrexate and curcumin at wavelength 360 nm

| Flow rate (mL/min.) | Difference | Rtof methotrexate | Rt of curcumin |
| --- | --- | --- | --- |
| 0.8 | -2 | 2.774 | 12.368 |
| 1 | 0 | 2.285 | 10.240 |
| 1.2 | +2 | 1.918 | 8.334 |

Change in mobile phase composition (±2v/v)

Table: 15. Robustness of methotrexate and curcumin at wavelength 360 nm

| Mobile phase (v/v) | Difference | Rt of methotrexate | Rt of curcumin |
| --- | --- | --- | --- |
| 53:47 | -2 | 2.682 | 11.211 |
| 55:45 | 0 | 2.285 | 10.240 |
| 57:43 | +2 | 1.953 | 8.101 |

2.5 Assay:

The bulk drug equivalent to 5mg methotrexate and 200mg curcumin was accurately weighed and transferred to volumetric flask of 100ml and make up the flask with solvent to give a solution of 50µg/ml methotrexate and 2000µg/ml curcumin.

The above solution was sonicated for 10 min. and carefully filtered through Whatmann filter paper.  The aliquot (10ml) was taken and transferred to volumetric flask of 100 ml and volume was made up to the mark with solvent to give a solution containing 5µg/ml methotrexate and 200µg/mL curcumin. This solution was used for the estimation of methotrexate and curcumin .(chromatogram -figure: 7) and assay result  is shown in table 16.

Chromatographic conditions

Mobile phase: Acetonitrile and 2% acetic acid in 55:45

Flow rate: 1ml/min

λmax: 360nm

Injection volume:  20µl

The results of assay of bulk drugs were shown in table: 16

Figure: 7 Chromatogram of mixed sample solution containing 5µg/ml methotrexate and 200 µg/mL curcumin using acetonitrile and 2% acetic acid at flow rate of 1ml/min

Table: 16. Assay of Methotrexate and curcumin in bulk drug

| Sr. no | Expected conc. (mg) |  | Actual conc. (mg) |  | % Assay |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MTX | CU | MTX | CU | MTX | CU |
| 1. | 5 | 200 | 4.86 | 197.96 | 99.68% | 99.76% |

n=3

SUMMARY AND CONCLUSION

The method was developed for the simultaneous estimation of methotrexate &curcumin using RP-HPLC. Various trials were taken for the methotrexate and curcumin at certain conditions. The optimized trial included mobile phase consisting of 55:45 of ACN: 2% acetic acid and absorbance was measured at 360nm.  All the parameters were validated according to the ICH guidelines and meet all the limits(Table:17).

Table: 17. Summary of validation parameters of RP-HPLC at 360nm wavelength:

| Parameter | Methotrexate | Curcumin |
| --- | --- | --- |
| Linear range (µg/mL) | 100-200 | 75-200 |
| Regression coefficient (R2) | 0.998 | 0.998 |
| Limit of detection(µg/mL) | 6.095 | 6.110 |
| Limit of quantification | 18.470 | 18.515 |
| %Recovery | 98.59 | 99.74 |
| Repeatability (n=6) | %RSD NMT 2 | %RSD NMT 2 |
| Precision Interday precision Intraday precision | %RSD NMT 2 | %RSD NMT 2 |

The percentage assay of binary mixture  was found to be 99.68% and 99.76% for methotrexate and curcumin respectively. The proposed HPLC method was found to be simple, precise and accurate. Hence, this method can be used for the method development and validation   of Methotrexate and curcumin  in bulk drug and multi-component formulation.

REFERENCES

- American Association for Cancer Research, AACR Cancer Progress Report, 2017.P.121.

- Coates A, Abraham S, Kaye SB, Sowerbutts T, Frewin C, Fox RM, Tattersall MH, On the receiving end—patient perception of the side-effects of cancer chemotherapy.,European Journal of Cancer and Clinical Oncology, 1983; 19(2):203-208.

- Khazir J, Riley DL, Pilcher LA, De-Maayer P, Mir BA, Anticancer agents from diverse natural sources, Natural product communications, 2014;9(11):195-167.

- Takeda M, Khamdang S, Narikawa S, Kimura H, Hosoyamada M, Cha SH, Sekine T, Endou H, Characterization of methotrexate transport and its drug interactions with human organic anion transporters, Journal of Pharmacology and Experimental Therapeutics, 2002; 302(2):666-669.

- Allegri P, Mastromarino A, Neri P, Management of chronic anterior uveitis relapses: efficacy of oral phospholipidic curcumin treatment. Long-term follow-up, Clinical Ophthalmology,2010; 4:1201-1207

- Vallianou NG, Evangelopoulos A, Schizas N, Kazazis C, Potential anticancer properties and mechanisms of action of curcumin,Anticancer research,2015;35(2):645-51.

- Jayaprakasha GK, Jagan Mohan Rao L, Sakariah KK,Improved HPLC method for the determination of curcumin, demethoxycurcumin, and bisdemethoxycurcumin, Journal of agricultural and food chemistry, 2002; 50(13):3668-3672.

- Moghbel, A., Zand-Moghaddamb, A., Rezaee, S., Pedram, M, High-Performance Liquid Chromatography Determination of Methotrexate in Plasma,  Iranian Journal of Pharmaceutical Research, 2010; 2( 3): 149-152

- El-Hady DA, El-Maali NA, Gotti R, Bertucci C, Mancini F, Andrisano V,Methotrexate determination in pharmaceuticals by enantioselective HPLC, Journal of pharmaceutical and biomedical analysis, 2005;37(5):919-925.

- Li J, Jiang Y, Wen J, Fan G, Wu Y, Zhang C, A rapid and simple HPLC method for the determination of curcumin in rat plasma: assay development, validation and application to a pharmacokinetic study of curcumin liposome, Biomedical chromatography, 2009 ;23(11):1201-1207.

- Ramshankar YV, Suresh S,  A sensitive reversed phase HPLC method for the determination of curcumin, Pharmacognosy Magazine, 2009;5(17):71-76

- Wichitnithad W, Jongaroonngamsang N, Pummangura S, Rojsitthisak P, A simple isocratic HPLC method for the simultaneous determination of curcuminoids in commercial turmeric extracts, Phytochemical Analysis, 2009; 20(4):314-319.

- Banji D, Pinnapureddy J, Banji OJ, Saidulu A, Hayath MS, Synergistic activity of curcumin with methotrexate in ameliorating Freund's Complete Adjuvant induced arthritis with reduced hepatotoxicity in experimental animals, European journal of pharmacology, 2011;668(2):293-298.

- Mishra A, Dewangan G, Singh WR, Hazra S, Mandal TK, A simple reversed phase high-performance liquid chromatography (RP-HPLC) method for determination of curcumin in aqueous humor of rabbit, Journal of advanced pharmaceutical technology & research, 2014; 5(3):147-149.

- Suguna P, Sathyanarayana B, Chandrasekhar G, Narasimhulu B, Validation of HPLC method for the analysis of methotrexate in bulk drug and pharmaceutical dosage forms,J Chem Pharm Res,  2015; 7:27-33.

- Sharma K, Giri K, Dhiman V, Dixit A, Zainuddin M, Mullangi R, A validated LC/MS/MS assay for simultaneous quantification of methotrexate and tofacitinib in rat plasma: application to a pharmacokinetic study,  Biomedical Chromatography, 2015;29(5):722-732.

- Joseph SK. Simultaneous Determination of Methotrexate and Sulfasalazine in Plasma by HPLC–DAD. 2015.

- Roy M, Mohite M, Shah S, Development and validation of RP-HPLC method for thedetermination of methotrexate in bulk and pharmaceutical tablet dosages form,  European Journal of Pharmaceutical and Medical Research, 2016; 3(5): 355-358

- Jahromi LP, Mohammadi-Samani S, Ashrafi H, Azadi A,A reversed-phase high performance liquid chromatography (HPLC) method for bio-analysis of methotrexate ,TIPS. 2016;2(2):101-108.

- Radha A, Ragavendran P, Thomas A, Kumar DS, A cost effective HPLC method for the analysis of curcuminiods, Hygeia.J.D.Med, 2016;8 (1) :115-120

- Panigrahi S, Hirlekar R,  A new stability indicating RP-HPLC method for determination of curcumin: an application to nanoparticulate formulation, Int J Pharm Pharm Sci., 2016;12:102-107.

- Amanolahi F, Mohammadi A, Oskuee RK, Nassirli H, Malaekeh-Nikouei B, A simple, sensitive and rapid isocratic reversed-phase high-performance liquid chromatography method for determination and stability study of curcumin in pharmaceutical samples. Avicenna journal of phytomedicine. 2017;7(5):444.-447

- Hirlekar R, Bhairy S, Kmismatrao A, Development and validation of RP-HPLC method for simultaneous estimation of curcumin and piperine,  Int J App Pharma, 2018;10(5):43-44

- Curcio M, Mauro L, Naimo GD, Amantea D, Cirillo G, Tavano L, Casaburi I, Nicoletta FP, Alvarez-Lorenzo C, Iemma F, Facile synthesis of pH-responsive polymersomes based on lipidized PEG for intracellular co-delivery of curcumin and methotrexate. Colloids and Surfaces B,  Biointerfaces. 2018; 167:568-576.

- ICH Harmonised Tripatite Guidelines. Validation of analytical procedure: text and methodology Q2 (R1), current step 4 version, parent guidelines on methodology, November 2005.